## Slide 2: digitize
energy to photon (poisson distribution)
photon to phoelectron (binomial distribution, PDE=0.32)
SiPM saturation
phoelectron to adc
gaussian smear (sigma of single phoelectron peak)
adc to highgain and lowgain
reconstruct energy

## Slide 3: MIP Spectrum
MC after digitized
MC
data
MC after digitize
MC
data

## Slide 4: width and sigma
MC truth
MC after digitize
data

## Slide 5: hitno --change position of incident particle
10,10mm
1,1mm
20,20mm

## Slide 6: total energy
data after correction
MC(1,1)
truth
MC(10,10)
truth
data
MC(1,1)
digitized
MC(10,10)
digitized

## Slide 7
backup

## Slide 8: single phoelectron sigma

## Slide 9: single phoelectron sigma

## Slide 10
MC after digitize

## Slide 11: hitno
MC 10,10mm 2.5,0.0,0.126, digitized

## Slide 12: total energy MC 2500/0126/2020
MC(20,20)
digitized