## Slide 1: Digitization and Comparison
diao hongbin
State key laboratory of particle detection and electronics
USTC

## Slide 2: digitize
energy to photon (poisson distribution)
photon to phoelectron (binomial distribution, PDE=0.32)
SiPM model
  sample
  gaussian smear
phoelectron to adc
gaussian smear (sigma of single phoelectron peak sqrt(n)*3)
adc to highgain and lowgain

## Slide 3: SiPM model
N_pixel=7284, P_crosstalk=0.00

## Slide 4: N_fired distribution (P_crosstalk=0)

## Slide 5: sigma and resolution

## Slide 6: P_crosstalk=0.01
N_pixel=7284, P_crosstalk=0.01
exponential function is not ok

## Slide 7: muon comparison
model
sample
data
data

## Slide 8: electron comparison
data
MC
digi

## Slide 10
backup

## Slide 11: single phoelectron peak sigma
number of peak
fitted peak sigma
=(mean-pedesta)/gap of peaks

## Slide 12: single phoelectron peak sigma

## Slide 13: electron
MC model

## Slide 14: Fit change sigma
1,0,1,0.001
h->FillRandom(f,10000)
1,0,1,1
1,0,1,2
1,0,1,3
1,0,1,4
1,0,1,5

## Slide 15: Fit change sigma
1,0,1,10
1,0,1,6
1,0,1,7
1,0,1,8
1,0,1,9
1,0,1,11

## Slide 16: fitted result
y=x
y=2.355*x