## Slide 1: ECAL Muon Data analysis
2024/02/02
Jiaxuan Wang

## Slide 2: Muon Data
100GeV mu- data
  Beam position
  Beam condition
Sample and Test

## Slide 3: MIP calibration: sample
2/3 events from each file

## Slide 4: Muon Energy Reconstruction: test
1/3 events from each file
Energy reconstruction
Using calibrated results from sample muon data, the MPV of fitting function are not around 0.305MeV for test muon files
Blue : All channels
Red : Dead Channels
0.305MeV

## Slide 5: Muon Energy Reconstruction: test
Not fitted well good fit but with a low MPV

## Slide 6: Muon Energy Reconstruction: sample
Energy reconstruction
Using calibrated results from sample muon data, the MPV of fitting function are not around 0.305MeV for sample muon files either
0.305MeV
Blue : All channels
Red : Dead Channels

## Slide 7: Summary
Parameter calibrated from sample muon data
For muon energy reconstruction of each channel, plenty channels still have a low MPV which is smaller than 0.305MeV
Track fit method
  SSA method
  3D linear fit