## Slide 1: 山东大学 气体探测器研究
祝成光
代表山东大学粒子物理与粒子辐照教育部重点实验室的同仁们

## Slide 2: Outline
TGC detector for ATLAS trigger
sTGC detector for ATLAS trigger upgrade
TPC detector for STAR upgrade
TPC advanced research for CEPC
Hodoscopes for detector testing

## Slide 3
Start point of the detector study in SDU
ATLAS实验TGC探测器

## Slide 4
Principle of TGC detector
Quick response

## Slide 5: Anode and cathode plane

## Slide 6: Detector into shape
A series of quality control

## Slide 7
Testing of TGC
Uniformity/noise test and efficiency test
No one failed

## Slide 8
TGC installed in ATLAS cavern
One failed after 3 years of running, (fail: 1/400 < 1/50)

## Slide 9
Keep the performance of the fast response
Improve the position resolution and capable rate.
1mm strip pitch, 120micro achieved
2.8mm间距
Φ50μm镀金钨丝
感应信号拾取电极
sTGC v1

## Slide 10: signals
Signals from strips
Charge distribution, on average 470fC, M around 105

## Slide 11: sTGC v2
4mm strip pitch, 233micro achieved.
Resistive layer for protection and enlarging charge dist

## Slide 12
Position resolution around 233micro.

## Slide 13: Beam test at Fermi

## Slide 14
sTGC as the new trigger layer in ATLAS
直径8.9米
8层sTGC

## Slide 15
sTGC gas mixer
and automatic Spraying machine
15

## Slide 16
Upgraded wire machine

## Slide 17
科大和山大在探测器和前端电子学合作是我们在粒子探测器的研究中走上更高的台阶。
sTGC （SDU)
router
Front End lectronics
(USTC)

## Slide 18: TPC for STAR experiment
20micro anode wire plus shielding and gating wires

## Slide 19: Signal
200ns width

## Slide 20: FE electronics
Gassiplex chip for FE

## Slide 21: Integrated signal of each channel
88 pads readout in once

## Slide 22: Leak current and noise
Noise and sparks are well under control

## Slide 23
Plans
Test the performance for STAR requirements
Produce full size TPC
Extend the drift length to 1 meter
Test TGEM and GEM for TPC technique used for CEPC

## Slide 24: Cosmic test bed
For general detector testing

## Slide 25: Full size

## Slide 26
Cosmic rate
触发率模拟
总入射率
x、y 均匀分布
方位角均匀分布
天顶角
模拟结果：12.7/s

## Slide 27
闪烁体的时间分辨率
闪烁体时间刻度
系统时间分辨率
Time resolution

## Slide 28
Tested EDs for LHAASO

## Slide 29: Efficiency and time reso scan

## Slide 30: Q scan

## Slide 31: Plan
Based on new sTGC technique, and new-build fast scintilators, build a new cosmic test bed with position resolution <100micro, time resolution <100ps.
Mainly for sTGC and TPC testing in near future.

## Slide 32
总结
气体探测器研究在项目带动下得到长足发展，建设了基本的实验设备，积累了探测器研究经验，并蓬勃发展。
有望在中国建设的新一代粒子物理实验中发挥应有的作用