## Slide 1: Crosstalk on MIP Spectrum
2023/09/23
Speaker : Jiaxuan Wang

## Slide 2: Motivation: how does crosstalk affect MIP spectrum
Crosstalk: 10um-0.1 15um-0.15, MIP MPV also (1+p_ct) ?
Independent test
  Get random hist from Landau function
    MPV scanning: 10um(80-140); 15um(200-800)
    Landau width: 10um 15; 15um 50
  Photon Number: Division of random number by (SiPM_Gain*PDE)
    Poisson distribution
    Light output uniformity
  Pixel MC correction
    Crosstalk = 0 & crosstalk = 0.1, 0.15
  ADC gaussian distribution

## Slide 3: 10um SiPM
MPV: 95, 125

## Slide 4: 10um SiPM

## Slide 5: 15um SiPM

## Slide 6: 15um SiPM

## Slide 8: Landau MPV Scanning (10um, 0.5 threshold cut)
MPV_CT and MPV_SET non-linearity
~(1+p_crosstalk)
Wave-like
Fit method may introduce bias

## Slide 10: Landau MPV Scanning (15um, threshold cut)
Same situation on 15um

## Slide 11: Landau Width Scanning (10um, threshold cut)
With width increase, MPV decrease
Fit method may introduce bias

## Slide 12: Landau Width Scanning (15um, threshold cut)
Same situation on 15um

## Slide 13: Summary
Scanning of Landau MPV and Landau Width
MPV could be easily affected by current fitting method
Correction or new function?