## Slide 1: Study of CEPC ECAL Calibration
--Zhen Wang, Jiaxuan Wang, Xiang Li

## Slide 2: Motivation
MIP calibration does not work due to low signal-noise ratio
Need to find an alternative method for calibration

## Slide 3: Strategy
Electron events as one of the substitutions
Look at the weighted energy(ADC) distribution of center cells
Find scale factors to scale channels back
Weighted filled energy

## Slide 4: Histogram fitting
Standard channel selection:
  MIP calibration histograms
  Statistics
  MC comparison
  Denoted as hstd
For each remaining histogram:
  Extract all values in hist
  Loop over SFs to generate hnew
  Calculate chi2 between hnew and hstd
  Select SF that minimizes chi2

## Slide 5: Performance –Layer 5
Before
After
Distributions are matching after the scaling
Standard channal:10

## Slide 6: Performance –Layer 6
Before
After
Distributions are matching after the scaling
Standard channal:13

## Slide 7: Calibration among layers
Target:
  Calibrate ADC with respect to truth energy deposition
Methodology:
  Reference shower energy deposition from MC
  Compare ADC distribution with energy deposition
Channels:
Odd: 11 12
Even: 9 10

## Slide 8: DATA vs MC –Layer5
Similar shapes

## Slide 9: DATA vs MC –Layer6
Difference in shapes, histogram fitting?

## Slide 10: Summary & Todos
Channels normalized with scale factors
Calibration factors estimated with MC
Apply these factors and estimate energy resolutions (Scripts ready from Jiaxuan?)

## Slide 11: Backup

## Slide 12: Performance --example
Before
After
Distributions are matching after the scaling
Standard channal:12

## Slide 13: Data vs MC –layer5

## Slide 14: Data vs MC –layer6

## Slide 15: Data vs MC –layer13
MC underestimates data generally