## Slide 1: AHCAL PS Data Analysis
Hongbin Diao
State key laboratory of particle detection and electronics
USTC

## Slide 2: Calibration
pedestal is calibrated from force trigger mode file
high-lowgain ratio is calibrated from pion
pedestal and high-lowgain ratio are close to SPS

## Slide 3: Calibration
for MIP and SPE, due to there is no muon position scan, only few channels can be calibrated
so they are transformed from SPS using a linear function
MPV relationship (entries > 1000)

## Slide 4: Energy reconstruction

## Slide 5: layer profile
energy of different layers
red: data
blue: MC digi
5GeV e-

## Slide 6: remove layer6

## Slide 8: layer hitno
hitno of different layers
red: data
blue: MC digi
5GeV e-

## Slide 9: layer hitno
MC
data

## Slide 10: exclude ADC>800

## Slide 11: exclude ADC>800
energy of different layers
red: data
blue: MC digi
5GeV e-

## Slide 12: Summery
preliminary calibration and energy reconstruction are done
pedestal and high-lowgain raito of PS are similar to SPS
MIP and SPE is transformed from SPS
the mean value of data and MC are close, but data is wider than MC
after exclude channels whose lowgain ADC >800, it become worse

## Slide 13: backup

## Slide 14: layer 6
pedestal and mip of layer6 chip4 are higher than normal value, which is same as SPS

## Slide 15: Energy rec. exclude layer 6

## Slide 16: position select