## Slide 1: AHCAL Digitization Tuning
Hongbin Diao
State key laboratory of particle detection and electronics
University of Science and Technology of China

## Slide 2: highgain pedestal width
refit the highgain pedestal to get more accurate pedestal sigma
  difference is not very big
  lowgain has no change basically, due to it’s more gaussian
sigma
mean

## Slide 3: lowgain pedestal width
high-low gain ratio band is wider than pedestal
  because a very small slope, lowgain pedestal dominate width of band
  most channels don’t have adequate statistics
  so I just do a multiplicant on the original sigma
pedestal
band width

## Slide 4: p.e. width
use a bigger p.e. width (before, it was 3)
  p.e. width significantly varies in different channels, even in one chip
possible factor: non-uniformity between different channels
  discrepancy between fitted MPV and ture MPV

## Slide 5: MIP Uncertainty
split muon events into two parts, fit them individually
MPV difference between two parts
distance between points to fitted line

## Slide 6: result
after these tuning，MC become wider (not enough)

## Slide 7: Summary
some tuning have been done, still ongoing
it works, but not much