## Slide 1: 空气芯线圈
2025年07月08日
叶昌庆

## Slide 2
将各只线圈的结果整理如下（为标称结果）
空气芯线圈+新线圈
 |  | 线径(mm) | 线圈内径（mm） | 单层匝数 | 匝间距(mm) | 层数 | 层间距(mm) | 绕制备注
Prototype coil | V1 | 0.13/0.156 | 114 | 288 | 0.198 | 15 | 0.75+0.156 | 
 | V2 | 0.1*100/1.35 | 114 | 90 | 1.35 | 8 | 0.5+1.35 | 
 | V3 | 0.55/0.6 | 200 | 250 | 0.6 | 50 | 0.25+0.6 | 
 | V3.5 | 1.2/1.27 | 114 | 180 | 1.27 | 8 | 0.5+1.27 | 
 | V4 | 0.1*100/1.35 | 114 | 180 | 1.35 | 8 | 0.5+1.35 | 
Test coil | Coil1 | 0.55/0.6 | 40 | 50 | 0.6 | 14 | 0.6 | 
 | Coil2 | 0.55/0.6 | 40 | 75 | 0.6 | 14 | 0.6 | 
 | Coil3 | 0.55/0.6 | 40 | 100 | 0.6 | 14 | 0.6 | 
 | Coil4 | 1.2/1.27 | 40 | 47 | 1.27 | 6 | 1.27 | 
 | Coil5 | 0.1*20/0.6 | 40 | 100 | 0.6 | 14 | 0.6 | 
 | Coil6 | 0.55/0.6 | 100 | 100 | 0.6 | 14 | 0.6 | 
 | Coil7 | 0.55/0.6 | 150 | 100 | 0.6 | 14 | 0.6 | 
 | H1 | 0.65/0.715 | 34 | 56 | 0.715 | 18 | 0.715 | 
 | Coil8 | 0.11 | 40 | 450 | 0.133 | 64 | 0.133 | 不确定，28850
 | Coil9 | 0.22 | 40 | 242 | 0.252 | 34 | 0.252 | L33,34:241_ELSE:242
 | Coil10 | 0.35 | 40 | 150 | 0.388 | 22 | 0.388 | ALL:150
 | Coil11 | 0.45 | 40 | 122 | 0.493 | 18 | 0.493 | L2,4:121_ELSE:122
 | Coil12 | 0.55 | 100 | 99 | 0.6 | 14 | 0.6 | L2:98_ELSE:99

## Slide 3
测试结果vs仿真结果

## Slide 4
coil9

## Slide 5
coil10

## Slide 6
coil11

## Slide 7
coil12

## Slide 8
结果
R_wire/R_coil
R_wire/sqrt(R_coil)

## Slide 9
More sample
 |  | 线径(mm) | 线圈内径（mm） | 单层匝数 | 匝间距(mm) | 层数 | 层间距(mm) | 绕制备注
Test coil | Coil1 | 0.55/0.6 | 40 | 50 | 0.6 | 14 | 0.6 | 
 | Coil2 | 0.55/0.6 | 40 | 75 | 0.6 | 14 | 0.6 | 
 | Coil3 | 0.55/0.6 | 40 | 100 | 0.6 | 14 | 0.6 | 
 | Coil4 | 1.2/1.27 | 40 | 47 | 1.27 | 6 | 1.27 | 
 | Coil5 | 0.1*20/0.6 | 40 | 100 | 0.6 | 14 | 0.6 | 
 | Coil6 | 0.55/0.6 | 100 | 100 | 0.6 | 14 | 0.6 | 
 | Coil7 | 0.55/0.6 | 150 | 100 | 0.6 | 14 | 0.6 | 
 | H1 | 0.65/0.715 | 34 | 56 | 0.715 | 18 | 0.715 | 
 | Coil8 | 0.11 | 40 | 450 | 0.133 | 64 | 0.133 | 不确定，28850
 | Coil9 | 0.22 | 40 | 242 | 0.252 | 34 | 0.252 | L33,34:241_ELSE:242
 | Coil10 | 0.35 | 40 | 150 | 0.388 | 22 | 0.388 | ALL:150
 | Coil11 | 0.45 | 40 | 122 | 0.493 | 18 | 0.493 | L2,4:121_ELSE:122
 | Coil12 | 0.55 | 100 | 99 | 0.6 | 14 | 0.6 | L2:98_ELSE:99
 | Coil13 | 0.50 | 40 |  |  |  |  | 
 | Coil14 | 0.55 | 40 |  |  |  |  | 
 | Coil15 | 0.6 | 40 |  |  |  |  | 

## Slide 10
可能原因
面积更大的线圈，更加容易出现天线效应，产生额外的辐射损耗，而Comsol (AD/DC) 以及Ansys (Maxwell) 不能仿真辐射，需使用Comsol (RF) 或者Ansys (HFSS) 才能准确仿真，但是仿真存在困难
理论公式：
 | 辐射电阻Rrad (Ω) @ 10kHz
V3 | 6.3e-9
Coil6 | 3.1e-12
Coil7 | 1.4e-11

## Slide 11
辐射能量
Coil7 在2 kHz 处，Rac_test = 400 Ω， Rac_simu = 50 Ω，测试电流 Icc = 0.1 mA
辐射损失功率：
功率密度， 是波阻抗
假设辐射大致均匀
计算得到

## Slide 12
辐射探测
近场（互感）
  尺寸结构：<< λ
远场（辐射）
  尺寸结构：~ λ
对于10kHz 电磁波，λ = 30 km
近场探头：感应线圈或偶极子天线，只能测试到储能场

## Slide 13
总结
测试
在低频情况下 ~2kHz，Rs ≈ Rac ，Rs 能通过LCR 表直接给出，不用拟合即可近似比较Rac 的测试结果和仿真结果
更改测试条件、更改线圈方位、更改与金属物之间的距离，均不能解释 仿真和测试的偏差
仿真
趋肤效应，10kHz 处 趋肤深度为0.66mm，趋肤效应显著影响的线径为> 1.32mm
临近效应
天线效应

## Slide 14
Some points
Comosol 能仿真出临近效应的影响

## Slide 15
Some points
基于 Coil11 的仿真结果
调整间距，观察交流电阻的结果 仿真中临近效应

## Slide 16
To do
按层拆解线圈
比较仿真值和测试值

## Slide 17: 磁芯线圈
2025年06月17日
叶昌庆

## Slide 18
磁芯复数磁导率
Cuellar C, Tan W, Margueron X, et al. Measurement method of the complex magnetic permeability of ferrites in high frequency[C]//2012 IEEE international instrumentation and measurement technology conference proceedings. IEEE, 2012: 63-68.
The obtained results show that the CMP cannot be generalized for one kind of material because it depends of the geometrical dimensions and manufacture process dispersion.