## Slide 1: AHCAL
Hongbin Diao
State key laboratory of particle detection and electronics
University of Science and Technology of China

## Slide 2: noise in muon
highgian noise
highgian noise > 0.5MIP
noise hitno
in all chips
noise hitno > 0.5 MIP
in chip4
select the hit that not near the muon track
tau=-1/slope

## Slide 3: add noise in digitization
add this noise at the channel level
for single channel, it has probability of #Entries / 1.8M
entries is corrected by tau
magnitude is given by an exponential distribution

## Slide 4: track fit
find the energy center of each layer
then fit layer 2-15 with linear line
layer
center X
MC
data

## Slide 5: continuous layers
MC
5GeV
pion
Data
10GeV
pion
Data
5GeV
pion
MC
10GeV
pion

## Slide 7: CSNS -- MELODY
to measure the muon beam intensity and purity
plastic scintillator detector and current shape discrimination (CSD) method are used
in its test, birks constant has been considered
https://doi.org/10.1016/j.nima.2025.170871

## Slide 8: Current shape discrimination
: muon components
: decay positron components

## Slide 9: Birks constant
horizontal axis represents the absolute muon count per pulse obtained from μSR spectrometer measurements
vertical axis displays the corresponding intensity values reconstructed using the scintillator detector system with a Birks constant of 0, 0.015, 0.03, and 0.045
optimal agreement between both measurement systems was achieved when applying a Birks constant of 0.045