## Slide 1: Progress of GEM R&D in Lanzhou Univerity
Yi Zhang

## Slide 2: Application I: fast neutron imagining

## Slide 3: Application II：SoLID @ JLab

## Slide 4
Avalanche electrons collected on by detector (simulation)

## Slide 5: Background: Track identification by signal timing
Mean=135.7ns
σ= 22.8
Mean=89.4ns
σ= 1.744
SP-ADQ412: 1.8GHz

## Slide 6: Triple-layer GEM detector

## Slide 7: High voltage and trigger
HV
6KV
103M
drift electrode
Trigger
5M
10M
15M
6KV
103M
MPD+V1218
}GEM I
}GEM II
}GEM III
CF8000 discriminator
10M

## Slide 8: Test result of new detector (55Fe)
σ~127um
σ~127um
σE~19.5%

## Slide 9: Design of 2D readout panel
10cm×10cm area
both X- and Y-axis have 167 electrodes
top pad width：130um
bottom pad width：280um
pitch：600um
total readout area on two dimensions are identical, to get same amount of charge
Panasonic130P
To APV25

## Slide 10: Forming hit clusters in 1 time slice
fake data test (27×27 chns)

## Slide 11: Resources consumption budget (2048 chs)
Iterms of resources | Total | Usage of current daq | Usage of out code
Combinational ALUTs | 48,080 | 21,247 (44%) | 14,092 (29%)
Dedicated registers | 48,080 | 13,382 (28%) | 32,224 (67%)
DSP | 256 | 0 | 3(1%)
Block Memory Bits | 2,528,640 | 1,808,252 (72%) | 73,216 (3%)
from INFN :
reports of our code:

## Slide 12: x-ray imaging by new detector and Daq
detector & daq system
10 cm

## Slide 13: Real signals recorded in Daq
55Fe
cosmic μ-

## Slide 14: comparing signal amplitudes of different particle
x-ray in 1 period
muon in 1 period
muon in
mutil period
x-ray in
mutil period

## Slide 15: Try to identify signals of different particle (data)
period2/period1
period3/period1
period3/period2

## Slide 16: Garfield++ simulation of the double GEM + Mesh
Garfield++ simulation of the double GEM (reference)
Edrift=1kV/cm
EGem=58.33kV/cm
gain=9032
Edrift=1kV/cm
EGem=58.33kV/cm
Eamp=40kV/cm
gain=68930

## Slide 17: Gain VS voltage of micro mesh (simulation)

## Slide 18: Spacer : FR4 foil (laser erosion)
dead area: 8.91%

## Slide 19: Detector installation
MicroMesh:
400 Holes/inch
tension：7KG
thickness：100um

## Slide 20: Energy spectrom of hybrid detector
resolution: 35%

## Slide 21: Tested with a α source

## Slide 22: Energy spectrum of α on thick GEM

## Slide 23: signals of α-track in different FEE periods

## Slide 24: 感谢核探测与核电子学国家重点实验室的大力资助，以上研究工作得以顺利开展。