## Slide 1: PCB Modeling
Hongbin Diao
State key laboratory of particle detection and electronics
University of Science and Technology of China

## Slide 2: PCB Board Modeling
3D model of PCB board (xxx.stp) from electronics colleague
convert .stp file to .stl file
import .stl file to Geant4 using CADmesh
using their respective materials for components

## Slide 3: SPS electron energy
without lowgain non-linearity in digitization

## Slide 4: SPS electron #Hit

## Slide 5: PS electron energy

## Slide 6: PS electron #Hit

## Slide 7: SPS pion energy

## Slide 8: SPS pion #Hit

## Slide 9: PS pion energy

## Slide 10: PS pion #Hit

## Slide 11: Temperature
monitor 1
monitor 2
blue: pion
green: electron
magenta: muon
SPS
PS

## Slide 12: MIP Calibration
PS: calibrated by muon beam
SPS: calibrated by muon beam
PS: calibrated by muon in pion beam
SPS: calibrated by muon beam

## Slide 13: Backup
PW0016A | 0.34 | 0 | 0 | 0 | 0.25 | 0 | 46.86 | 7.32 | 0 | 1.13 | 0 | 0 | 0.16 | 0.04 | 0 | 43.84 | 0 | 0 | 0 | 0.06
PW24 | 0 | 0 | 0.59 | 0 | 0.09 | 0 | 49.35 | 4.85 | 0 | 1.18 | 0 | 0 | 0.56 | 0.01 | 0 | 43.3 | 0 | 0 | 0 | 0.07
SC0402 | 0 | 0 | 0 | 83.57 | 0 | 0 | 4.29 | 0 | 0 | 0 | 0 | 0 | 7.14 | 0 | 0 | 0 | 0 | 5 | 0 | 0
SC0603 | 0 | 0 | 0 | 76.73 | 0 | 0 | 5.4 | 0 | 0 | 0 | 0 | 0 | 13.49 | 0 | 0 | 0 | 0 | 4.38 | 0 | 0
SC1206 | 0 | 0 | 0 | 84.58 | 0 | 0 | 4.12 | 0 | 0 | 0 | 0 | 0 | 9.96 | 0 | 0 | 0 | 0 | 1.34 | 0 | 0
SN74LVC125A | 0.07 | 0 | 0.02 | 0 | 0.23 | 0 | 50.03 | 6.44 | 0 | 1.33 | 0 | 0 | 2.25 | 0.01 | 0.09 | 39.53 | 0 | 0 | 0 | 0
SOIC127P600 | 0.44 | 0 | 0 | 0 | 0.33 | 0 | 29.61 | 9.48 | 0 | 0.79 | 0 | 0 | 0.11 | 0.04 | 0 | 59.14 | 0 | 0 | 0 | 0.06
SOIC8 | 0.17 | 0 | 0 | 0 | 0.3 | 0 | 37 | 8.43 | 0 | 0.81 | 0 | 0 | 1.83 | 0.01 | 0 | 51.4 | 0 | 0 | 0 | 0.05
SOP58P810 | 0.16 | 0 | 0 | 0 | 0.16 | 0 | 42.5 | 7.5 | 0 | 1 | 0 | 0 | 1.12 | 0.01 | 0.05 | 47.46 | 0 | 0 | 0 | 0.04
SR0402 | 2 | 66.48 | 0 | 0 | 0 | 0.42 | 17.55 | 2.34 | 0 | 0 | 0.35 | 0 | 4.39 | 0 | 0.16 | 0 | 2.01 | 4.3 | 0 | 0
SR0603 | 1.51 | 74.04 | 0 | 0 | 0 | 4.62 | 10.24 | 1.12 | 0 | 0 | 0.38 | 0 | 2.55 | 0 | 0.12 | 0 | 2.91 | 2.51 | 0 | 0
STC3528 | 7.44 | 0 | 0 | 0 | 9.88 | 0 | 7.79 | 0 | 0.06 | 0.36 | 0 | 14.34 | 2.31 | 0 | 0 | 0 | 32.68 | 1.21 | 21.86 | 2.07
TMP117 | 2.01 | 0 | 0.02 | 0 | 0.09 | 0 | 58.44 | 4.04 | 0 | 1.38 | 0 | 0 | 1.58 | 0.02 | 0.07 | 32.26 | 0 | 0 | 0 | 0.09
_8SOP | 1.66 | 0 | 0.43 | 0 | 0.1 | 0 | 43.36 | 4.86 | 0 | 0 | 0 | 0 | 1.45 | 0 | 0 | 44.31 | 0 | 0 | 0 | 3.84
SD0805（LED） | FR4+Cu (do not find the ditail, same as PCB board) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
RJ6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
RT3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
BB02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
FH29BW |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
BGA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |