## Slide 1: CEPC Sci-ECAL parameter analysis
Wang Jiaxuan

## Slide 2: Data taking @SPS
ECAL Beam test: April 24 - May 4 at H2
  MIP threshold scan：April 24 - April 25
    for 10um-layer DAC+10
  MIP position scan：April 26 - April 27
    each channel ~ 4K counts
  Data taking with two muon counters
    mu- : 100GeV, 120GeV (>3M events)
    pi- : 10, 15, 20, 30, 40, 50, 60, 70, 80, 100, 120GeV/c (>100K events each point)
    350GeV/c
    e- : 10, 20, 30, 40, 50, 60, 70, 80, 100, 120GeV/c (>100K events each point)
    150, 200, 250GeV/c

## Slide 3: Pedestal

## Slide 4: Pedestal - Abnormal Channel
layer22 chip0 channel18
layer13 chip0 channel8
layer9 chip1 channel21

## Slide 5: Pedestal stability
Not so many force-trigger mode pedestal files from SPS
Pedestal monitor
SPS PS
SPS PS
low-gain
pedestal
high-gain pedestal
SPS PS
temperatue
As for SPS and PS data, it shows pedestal quite stable respectively(1 ADC fluctuation @SPS)

## Slide 6: Pedestal stability @SPS
0428 and 0503 pedestal result difference
  1ADC fluctuation

## Slide 7: High-low gain calibration

## Slide 8: Ratio stability
0430 result – 0501 result

## Slide 9: High-low gain ratio calibration : fit method
Bin and unbin fit
residual
residual
Channel No
Channel No
Bin width : 1*1
Slope difference
Intercept difference
Scatter
Linear fit
Fit range: (300,x_max-600)

## Slide 10: High-low gain ratio calibration : bin set
Different TH2 bin settings
Channel No
Channel No
residual
residual
Bin width : 1*1
Bin width : 4*2
Slope difference
Intercept difference
Linear fit
Fit range: (300,x_max-600)

## Slide 11: MIP calibration
With the cut according to muon track, noise get eliminated.
15um SiPM
15um SiPM
10um SiPM
10um SiPM
before
before
after
after

## Slide 12: MIP statistics

## Slide 13: MIP statistics
Use SPS 100GeV/C muon- position scan data with auto gain mode(select threshold: 350)
Almost all channels from odd layers could be calibrated with adequate muon data. But for even layers, less than 500 hits for channels at bottom side.

## Slide 14: MIP statistics

## Slide 15: MIP spectrum
15um SiPM
10um SiPM

## Slide 16: MIP abnormal channels
Those channels are on the edge of the prototype

## Slide 17: Backup

## Slide 18: Simulation settings update
Update MC geometry and material parameters
  Geometry
    Check prototype size in MC geometry
    Superlayer structure
  Material
    Strip : G4_PLASTIC_SC_VINYLTOLUENE
    Absorber : Cu-W alloy(15:85), density=16.32
    PCB : FR4
  Add More Detail(Film, hole)
Prototype layer | Size
Scintillator strip | 5mm*45mm*2*mm
PCB | 230mm*230mm*2mm
Absorber | 230mm*230mm*3.2mm
Superlayer structure:
scintillator-> PCB-> absorber-> PCB-> scintillator-> absorber

## Slide 19: Energy reconstruction comparison
Fit methods don’t affect energy reconstruction and resolution.
Scatter mean: 1778
sigma:102.9
TH2 bin1 mean: 1790
sigma: 105.1
TH2 bin2 mean: 1790
sigma: 105.1

## Slide 20: High-low gain ratio calibration
Fit range
Fit range affect energy reconstruction and resolution.
Energy resolution ~10% improvement
Energy reconstruction ~ 8% decrease
(1200,Xmax-600)
(300,1200)

## Slide 21: Event Selection
Considering leakage along X-Y plane and calibrated parameters, different hit position cuts are applied to all 100GeV electron events under hl-gain mode
Get mean position by calculating the average of the hit position in this layer
all
50*50
30*30
10*10
Cut | Event | Percentage | sigma | mean
All | 97890 | 1 | 164.8 | 4366
50*50 | 92642 | 94.6% | 163.5 | 4369
30*30 | 79725 | 86.1% | 164.8 | 4369
15*15 | 35320 | 36.1% | 156.4 | 4412
MeV
MeV
MeV
MeV

## Slide 22: Fit Function
10000 simulation samples for 40GeV and 100GeV e-
Use crystal ball function instead of gaussian fit
Log scale
Normal scale
At relative low energy point, two fit methods have close mean and sigma,
For high energy electron, the crystal ball fit curve more approach the histogram.

## Slide 23: Hit No
40GeV
40GeV
40GeV
100GeV
100GeV
100GeV
%5 improvement

## Slide 24: Energy Reconstruction
good energy linearity but energy resolution still need further analysis

## Slide 25: 2022 & 2023 data check
Same peak position on X axis.
In 2022 SPS beam data, it also shows oscillation.
Energy deposition of superlayer doesn’t show abnormal.

## Slide 26: ECAL Channel Placement